पश्चिम क्षेत्र की

{{full_month_name}} माह की

प्रणाली प्रचालन रिपोर्ट

System Operation Report

of Western Region

For the month of

{{full_month_name}}

पावर सिस्टम ऑपरेशन कारपोरेशन लिमिटेड

(भारत सरकार का उद्यम)

पश्चिम क्षेत्रिय भार प्रेषण केन्द्र,मुम्बई

Power System Operation Corporation Ltd.

(A Government of India Enterprise)

Western Regional Load Despatch Centre, Mumbai

|  |  |  | पृष्टसूची CONTENTS |  |  |
| --- | --- | --- | --- | --- | --- |
| 1. सारांश रिपोर्ट SUMMARY REPORT |  |  |  |  |  |
| 1.1 |  | पश्चिम क्षेत्र ग्रिड के मुख्य अंश HIGHLIGHTS OF THE WR GRID |  |  |  |
| 1.2 |  | स्थापित क्षमता INSTALLED CAPACITY |  |  |  |
| 1.3 |  | ऊर्जा आपूर्ति स्थिति POWER SUPPLY POSITION |  |  |  |
| 1.4 |  | पश्चिम क्षेत्र की शिखर मांग पूर्ति और ऊर्जा खपत WR DEMAND AND ENERGY CONSUMPTION |  |  |  |
| 1.5 |  | मौंसमी परिवर्तन SEASONAL VARIATION |  |  |  |
| 1.6 |  | आवृति रूपरेखा FREQUENCY PROFILE |  |  |  |
| 1.7 |  | विदयुत दाबरूपरेखा VOLTAGE PROFILE |  |  |  |
| 1.8 |  | नए एलेमेंट की वृद्धि ADDITION OF NEW ELEMENTS |  |  |  |
|  |  | a) उत्पादक इकाईयां GENERATING UNITS |  |  |  |
|  |  | b) पारेषण लाइने TRANSMISSION LINES |  |  |  |
|  |  | c) आइसिटी ICTs |  |  |  |
|  |  | d) लाइन रिएक्टर LINE REACTORS |  |  |  |
|  |  | e) बस रिएक्टर BUS REACTORS |  |  |  |
| 1.9 |  | शेडुल और ड्रावल SCHEDULE Vs DRAWAL |  |  |  |
| 1.10 |  | उत्पादन इकाइयों की अनुपलब्धता GENERATION (UNIT) OUTAGES |  |  |  |
| 1.11 |  | उत्पादन इकाइयां(पवन और सौर) GENERATION (WIND,SOLAR) |  |  |  |
| 1.12 |  | अंतर क्षेत्रीय विनिमय INTERREGIONAL EXCHANGE |  |  |  |
| 1.13 |  | आरआरएएस भुगतान विवरण RRAS PAYMENT DETAILS |  |  |  |
| 1.14 |  | संसोधित एयूएफ़एलएस योजना REVISED AUFLS SCHEME |  |  |  |
| 1.15 |  | ओपन एक्सेस ट्रट्झेक्सन OPEN ACCESS TRANSACTIONS |  |  |  |
| 1.16 ग्रिड डिस्टर्बन्स और ग्रिड की घटनाओं की सूची LIST OF GRID DISTURBANCES AND GRID INCIDENTS 2. अनुलग्नक ANNEXURES |  |  |  |  |  |
| 2.1 |  |  | भार अवधि कर्व LOAD DURATION CURVE |  |  |
| 2.2 |  |  | आवृति अवधि कर्व FREQUENCY DURATION CURVE |  |  |
| 2.3 |  |  | पीक और न्यूनतम मांग दिन पर भार वक्र LOAD CURVE ON PEAK AND MINIMUM DEMAND DAY |  |  |
| 2.4 |  |  | यूनिटवाईज स्थापित क्षमता UNITWISE INSTALLED CAPACITY |  |  |
| 2.5 |  |  | कोणीय विभाजन उल्लंघन की रिपोर्ट ANGULAR SEPARATION VIOLATION REPORT |  |  |
| 2.6 |  |  | सिस्टम रिलाइबिलिटी सूचकांक(एटीसी/टीटीसी और वीडीआई )रिपोर्ट SYSTEM RELIABILITY INDICES (ATC/TTC AND VDI) REPORT |  |  |

1.1 पश्चिम क्षेत्र ग्रिड के मुख्य अंश Western Region Highlights {{month_name}}

- ऊर्जा आपूर्ति स्थिति Power Supply Position:

- Unrestricted Demand: The maximum unrestricted Demand was {{wr_max_unres_dem}} MW at {{wr_max_unres_dem_time_str}} which was {{wr_max_unres_dem_perc_inc}} % higher as compared to last year ({{wr_max_unres_dem_last_yr}} MW). Average unrestricted demand was {{wr_avg_unres_dem}} MW increased by {{wr_avg_unres_dem_perc_inc}} % w.r.t last year {{last_yr_month_name}} ({{wr_avg_unres_dem_last_yr}} MW).

- Peak Demand Met: Western Region has met gross peak demand of {{wr_peak_dem_met}} MW at {{wr_peak_dem_time_str}}. It was {{wr_peak_dem_perc_inc}}% higher as compared to {{last_yr_month_name}} ({{wr_last_year_peak_dem}} MW). Average Demand Met ({{wr_avg_dem}}MW) increased by {{wr_avg_dem_perc_inc}}% compared to last year {{last_yr_month_name}} ({{wr_avg_dem_last_yr}} MW).

- Total Energy Consumption was {{wr_tot_cons_mu}} MUs in the month of {{month_name}} at the average of {{wr_avg_cons_mu}} MUs/day and Maximum was {{wr_max_cons_mu}} MUs on {{wr_max_cons_mu_date}}. Average Energy consumption increased by {{wr_avg_cons_mu_perc_inc}}% compared to last year {{last_yr_month_name}} ({{wr_avg_cons_mu_last_yr}} MUs).

- Total Energy requirement was {{wr_tot_req_mu}} MUs for {{month_name}} at the average of {{wr_avg_req_mu}} MUs/day & Maximum was {{wr_max_req_mu}} MUs on {{wr_max_req_mu_date}}. Average energy requirement increased by {{wr_avg_req_mu_perc_inc}}% compared to last year of same month ({{wr_avg_req_mu_last_yr}} MUs).

- आवृति रूपरेखा Frequency Profile:

System frequency remained in IEGC band (49.90– 50.05 Hz) for {{bet_band}} % of time in this month. Average frequency was {{avg_freq}}Hz and frequency deviation index was {{fdi}}, Maximum frequency of {{max_freq}} Hz was observed on {{max_freq_time_str}} hrs. Minimum Frequency of {{min_freq}}Hz was observed on {{min_freq_time_str}} hrs.

- विदयुत दाबरूपरेखा Voltage Profile:

{{msg_1_1_volt}}

- नए एलेमेंट की वृद्धि Element Addition in December 2020 :

- 97.50MW Generating Capacity was added at Renew AP2(Wind) connected to 400kV

Bhuj PS.

- 15.60MW Generating Capacity was added at Alfanar(Wind) connected to 400 kV

Bhuj PS.

- Total 68 Ckt Km of Transmission Lines were added in the system.

- 400/220kV ICT-1 (315MVA) at Kurud(CSPTCL/Chhattisgarh) added in the system.

- 400/132kV ICT-1 (200MVA) at Vindhyachal (NTPC/Madhya Pradesh) replaced with the faulty ICT.

- 125 MVAR Bus Reactor at Singhaji(MPPGCL/Madhya Pradesh) was added in the system.

- हाइड्रो उत्पादन Hydro Generation:

Hydro generation in the month of {{month_name}} was {{tot_month_hydro_gen_mu}} MUs at the average of {{avg_month_hydro_gen_mu}} MUs/day. Maximum hydro generation was {{max_month_hydro_gen_mu}} MUs on {{max_month_hydro_gen_mu_date}}. Hydro generation {{tot_last_year_hydro_gen_mu_perc_str}} compared to last year of the same month ({{tot_last_year_hydro_gen_mu}} MUs).

- पवन उत्पादन Wind Generation:

Total wind generation in the month was {{tot_month_wind_gen_mu}} MUs at the average of {{avg_month_wind_gen_mu}} MUs/day in the month of {{month_name}}. Wind Generation {{tot_last_year_wind_gen_mu_perc_str}} compared to last year same month ({{tot_last_year_wind_gen_mu}} MUs). Maximum wind generation during {{month_name}} was {{max_month_wind_gen_mw}} MW observed on {{max_month_wind_gen_mw_date}}. Maximum renewable generation (wind +solar) in {{month_name}} was {{max_month_ren_gen_mw}} MW on {{max_month_ren_gen_mw_date}}.

- सौर उत्पादन Solar Generation:

Solar Generation of {{tot_month_solar_gen_mu}} MUs generated in the month of {{month_name}} at the average of {{avg_month_solar_gen_mu}} MUs/day. Solar Generation {{tot_last_year_solar_gen_mu_perc_str}} compared to last year same month ({{tot_last_year_solar_gen_mu}} MUs).  Maximum Solar generation during {{month_name}} was {{max_month_solar_gen_mw}} MW on {{max_month_solar_gen_mw_date}}.

- ओपन एक्सैस Open Access:

Total 255 Nos. of Intra-regional & Inter-regional short-term open access transactions for 1277.26 MUs of energy were approved in this month. From Apr’20 to Dec’20, total Nos of Intra-regional & Inter-regional short-term open access transactions are 1214 Nos and energy approved is 4721.50 MUs.

1.2 पश्चिमी क्षेत्र की स्थापित क्षमता Installed Capacity of Western Region (As on 30.11.2020)

Source: CEA website

1.3     बिजली आपूर्ति की स्थिति POWER SUPPLY POSITION: {{month_name}}

a.   ऊर्जा की आवश्यकता और उपलब्धता Energy Requirement and Availability

|  | {{month_name}} |  |  | {{recent_fin_month_name}} to {{month_name}} |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Constituent | Requirement (MUs) | Availability (MUs) | Shortage(%) | Requirement (MUs) | Availability (MUs) | Shortage(%) |
| {%tr for item in energy_req_avail %} |  |  |  |  |  |  |
| {{item.entity}} | {{item.reqMu_X}} | {{item.availMu_X}} | {{item.shortage_X}} | {{item.reqMu_Y}} | {{item.availMu_Y}} | {{item.shortage_Y}} |
| {%tr endfor %} |  |  |  |  |  |  |

* Chhatisgarh energy consumption is including BSP-SAIL consumption

b. Power Requirement and Availability (MW) & So Far Highest Requirement and Availability of WR and its Constituents

| {{month_name}} |  |  |  | So Far Highest |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Constituent | Peak Requirement (MW) | Peak Availability (MW) | Shortage (%) | Requirement (MW) | Availability (MW) | Shortage (%) | So Far Highest Requirement Date and Time | So Far Highest Availability Date and Time |
| {%tr for item in so_far_hig_req_avail %} |  |  |  |  |  |  |  |  |
| {{item.entity}} | {{item. peakReqMW }} | {{item. peakAvailMW}} | {{item. shortage_X}} | {{item. highestReqMW}} | {{item. highestAvailMW}} | {{item. shortage_Y}} | {{item. highestReqMWDateStr}} | {{item. highestAvailMWDateStr}} |
| {%tr endfor %} |  |  |  |  |  |  |  |  |

**Regional demand met is the simultaneous demand met and not the sum of demand met by constituent.

Note- monthly energy consumption is based on states monthly report.

1.4 प. क्षे. मांग / WR Demand-

| {{full_month_name}} के लिए सकल पीक मांग |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| GROSS PEAK DEMAND FOR {{full_month_name}} |  |  |  |  |  |  |  |  |
| State | Catered | UNSCHLS +SCHLS | Frequency Correction | Power Cut | Total | Date | Time | Frequency |
| {%tr for item in dem_data_1_4_1 %} |  |  |  |  |  |  |  |  |
| {{item.state_name}} | {{item.catered}} | {{item.ls}} | {{item.freq_corr}} | {{item.pc}} | {{item.tot_dem}} | {{item.peak_date}} | {{item.peak_time}} | {{item.freq_at_peak}} |
| {%tr endfor %} |  |  |  |  |  |  |  |  |

{{plot_1_4_2}}

| Demand Met | {{month_name}} | {{prev_month_name}} | {{last_yr_month_name}} | % Change w.r.t last month | % Change w.r.t last Year |
| --- | --- | --- | --- | --- | --- |
| Average | {{wr_avg_dem}} | {{wr_avg_dem_prev_month}} | {{wr_avg_dem_last_year}} | {{wr_avg_dem_perc_change_prev_month}} | {{wr_avg_dem_perc_change_last_year}} |
| Max | {{wr_max_dem}} | {{wr_max_dem_prev_month}} | {{wr_max_dem_last_year}} | {{wr_max_dem_perc_change_prev_month}} | {{wr_max_dem_perc_change_last_year}} |
| Date when Max. | {{wr_max_dem_date_str}} | {{wr_max_dem_date_str_prev_month}} | {{wr_max_dem_date_str_last_year}} | ~ | ~ |

1.5 Seasonal Variation

Day-wise Demand Plot-

{{plot_1_5_1}}

Daily Energy Consumption

{{plot_1_5_2}}

{{plot_1_5_3}}

| Energy Consumption MU/Day | {{month_name}} | {{prev_month_name}} | {{last_yr_month_name}} | % Change w.r.t last month | % Change w.r.t last Year |
| --- | --- | --- | --- | --- | --- |
| Average | {{wr_avg_con}} | {{wr_avg_con_prev_month}} | {{wr_avg_con_last_year}} | {{wr_avg_con_perc_change_prev_month}} | {{wr_avg_con_perc_change_last_year}} |
| Max | {{wr_max_con}} | {{wr_max_con_prev_month}} | {{wr_max_con_last_year}} | {{wr_max_con_perc_change_prev_month}} | {{wr_max_con_perc_change_last_year}} |
| Date When Max. | {{wr_max_con_date_str}} | {{wr_max_con_date_str_prev_month}} | {{wr_max_con_date_str_last_year}} | ~ | ~ |

1.6 आवृति रूपरेखा Frequency Profile-

| Frequency Profile for {{month_name}} |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date | Frequency (%) |  |  | FVI | (i) | (ii) | (iii) | Frequency (Hz) |  |  |
|  | {{“<49.9”}} | 49.9-50.05 | {{‘>50.05‘’’}} |  | % of time frequency remained out of IEGC band | No. of hours during which frequency was out of range during the day[(i)x24Hrs] | Daily FDI=(ii)/24 | Max. | Min. | Avg. |
| {%tr for item in freq_profile %} |  |  |  |  |  |  |  |  |  |  |
| {{item.date}} | {{item.less_than_band}} | {{item.freq_bet_band}} | {{item.out_of_band}} | {{item.fvi}} | {{item.out_of_band_perc}} | {{item.hrs_out_of_band}} | {{item.fdi}} | {{item.freq_daily_max}} | {{item.freq_daily_min}} | {{item.freq_daily_avg}} |
| {%tr endfor %} |  |  |  |  |  |  |  |  |  |  |
| Max | {{freq_max_less_band}} | {{freq_max_bet_band}} | {{freq_max_greater_than_band}} | {{max_fvi}} | {{max_perc_time}} | {{hrs_max_out_of_band}} | {{max_Fdi}} | {{max_monthly_freq}} | {{min_monthly_freq}} | {{avg_monthly_freq}} |
| Average | {{freq_avg_less_band}} | {{freq_avg_bet_band}} | {{freq_avg_greater_than_band}} | {{avg_fvi}} | {{avg_perc_time}} | {{hrs_avg_out_of_band}} | {{avg_Fdi}} |  |  |  |

Monthly FDI of {{month_name}}:  {{avg_Fdi}}

{{plot_1_6_2}}

1.7. विदयुत दाबरूपरेखा Voltage Profile- {{full_month_name}}

| Monthly VDI for the month {{full_month_name}} |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Voltage Deviation Index (VDI) – 765 kV Substations |  |  |  |  |  |  |  |  |  |  |
| S.No | Station Name | Voltage (in Volts) |  | {{“Voltage (in % of Time)”}} |  |  | Voltage (in Time) |  | Total no. of hours out of IEGC range (HH:MM) (iii) (i+ii) | Voltage Deviation Index (iii)/(Total No. of hrs in a month) |
|  |  | Max Voltage | Min Voltage | <{{“< 728 kV”}} | 728 kV to 800 kV | >{{“< 800 kV”}} | No. of hours below IEGC (i) <{{“< 728 kV”}} | No. of hours above IEGC (ii) >{{“< 800 kV”}} |  |  |
| {%tr for item in voltVdiProfile765 %} |  |  |  |  |  |  |  |  |  |  |
|  | {{ item.station }} | {{ item.max_vol }} | {{ item.min_vol }} | {{ item.less_perc }} | {{ item.band_perc }} | {{ item.more_perc }} | {{ item.less_hrs }} | {{ item.more_hrs }} | {{ item.out_hrs }} | {{ item.vdi }} |
| {%tr endfor %} |  |  |  |  |  |  |  |  |  |  |

| Monthly VDI for the month {{full_month_name}} |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Voltage Deviation Index (VDI) – 400 kV Substations |  |  |  |  |  |  |  |  |  |  |
| S.No | Station Name | Voltage (in Volts) |  | {{“Voltage (in % of Time)”}} |  |  | Voltage (in Time) |  | Total no. of hours out of IEGC range (HH:MM) (iii) (i+ii) | Voltage Deviation Index (iii)/(Total No. of hrs in a month) |
|  |  | Max Voltage | Min Voltage | <{{“< 380 kV”}} | 380 kV to 420 kV | >{{“< 420 kV”}} | No. of hours below IEGC (i) <{{“< 420 kV”}} | No. of hours above IEGC (ii) >{{“< 420 kV”}} |  |  |
| {%tr for item in voltVdiProfile400 %} |  |  |  |  |  |  |  |  |  |  |
|  | {{ item.station }} | {{ item.max_vol }} | {{ item.min_vol }} | {{ item.less_perc }} | {{ item.band_perc }} | {{ item.more_perc }} | {{ item.less_hrs }} | {{ item.more_hrs }} | {{ item.out_hrs }} | {{ item.vdi }} |
| {%tr endfor %} |  |  |  |  |  |  |  |  |  |  |

{%tr for item in plot_1_7_3 %}

{{item.img}}

{%tr endfor %}

1.8 नए एलेमेंट की वृद्धि Commissioning of New Elements

1.9 Schedule Vs Drawl of Western Region-{{month_name}}

Performance of Western Regional Grid during {{month_name}}

Schedule and Drawal of Constituents from Central sector {{month_name}}

| Sl. No. | State/U.T/ System | Schedule (Mus) | Actual Drawal (Mus) | Total Over(+)/Under (-)drawal (Mus) |
| --- | --- | --- | --- | --- |
| {%tr for item in schedule_drawal%} |  |  |  |  |
|  | {{item. entity}} | {{item. schedule}} | {{item. drawal}} | {{item. difference}} |
| {%tr endfor %} |  |  |  |  |

1.10 Generation Outages:

| UNIT OUTAGES (IN MW) IN {{month_name}} |  |  |  |  |
| --- | --- | --- | --- | --- |
| DATE | PLANNED OUTAGE | FORCED OUTAGE | TOTAL OUTAGE {{month_name}} | TOTAL OUTAGE –PREV MONTH |
| {%tr for item in generation_outages %} |  |  |  |  |
| {{item.dateStr}} | {{item.planned}} | {{item.forced}} | {{item.total}} | {{item.total_pre}} |
| {%tr endfor %} |  |  |  |  |

{{plot_1_10}}

1.11 पश्चिमी क्षेत्र का जनरेशन Generation of Western Region {{month_name}}

Renewables in WR- Wind Generation:  {{month_name}}

{%tr for item in plot_1_11_wind %}. {{item.img}}. {%tr endfor %}.

| Highest ever Wind generation |  |  |  |  |
| --- | --- | --- | --- | --- |
| State | Capacity (in MW) | Generation (in MW) | Date | Time |
| {%tr for item in so_far_hig_wind_gen %} |  |  |  |  |
| {{item.entity}} | {{item. capacityMW}} | {{item. generationMW}} | {{item. highestGenerationMWDateStr}} | {{item. highestGenerationMWTimeStr}} |
| {%tr endfor %} |  |  |  |  |

{%tr for item in plot_1_11_gen_curve %}

{{item.img}}

{%tr endfor %}

PLF/CUF for Wind Generation Constituent-wise:

| Wind Gen – {{month_name}} |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Constituent | Installed Capacity(MW) | Max Generation in {{month_name}} (MW) | So far highest generation (MW) | Wind energy generation (MU) | Energy Consumption (MU) | Penetration Level (in%) | PLF(%) | CUF(%) |
| {%tr for item in so_far_hig_win_gen_plf %} |  |  |  |  |  |  |  |  |
| {{item.entity}} | {{item. capacityMW}} | {{item. maxgenerationMW}} | {{item. soFarHighestGenMW}} | {{item. energyGeneration}} | {{item. energyConsumption}} | {{item.penetration}} | {{item.plf}} | {{item.cuf}} |
| {%tr endfor %} |  |  |  |  |  |  |  |  |

Solar Generation:

{%tr for item in plot_1_11_solarGen %}

{{item.img}}

{%tr endfor %}

अब तक का सबसे ज्यादा सौर उत्पादन {{wr_solar_so_far_highest.date}} को {{wr_solar_so_far_highest.data}} मेगावॉट {{wr_solar_so_far_highest.time}} बजे.

So Far Highest Solar Generation on {{wr_solar_so_far_highest.date}}- {{wr_solar_so_far_highest.data}}  MW at {{wr_solar_so_far_highest.time}} hrs.

| Highest ever Solar generation |  |  |  |  |
| --- | --- | --- | --- | --- |
| State | Cap (MW) | Gen (in MW) | Date | Time |
| {%tr for item in so_far_hig_wind_gen %} |  |  |  |  |
| {{item.entity}} | {{item. capacityMW}} | {{item. generationMW}} | {{item. highestGenerationMWDateStr}} | {{item. highestGenerationMWTimeStr}} |
| {%tr endfor %} |  |  |  |  |

{{plot_1_11_solar}}

PLF for Solar Generation constituent-wise:

(Generating Hours taken: 12 hrs per day)

| PLF For Solar Gen- {{month_name}} |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Constituent | Installed Capacity(MW) | Max Generation in {{month_name}} (MW) | So far highest generation (MW) | Solar energy generation (MU) | Energy Consumption (MU) | Penetration Level (in%) | PLF(%) | CUF(%) |
| {%tr for item in so_far_hig_solar_gen_plf %} |  |  |  |  |  |  |  |  |
| {{item.entity}} | {{item. capacityMW}} | {{item. maxgenerationMW}} | {{item. soFarHighestGenMW}} | {{item. energyGeneration}} | {{item. energyConsumption}} | {{item.penetration}} | {{item.plf}} | {{item.cuf}} |
| {%tr endfor %} |  |  |  |  |  |  |  |  |

नेट लोड वक्र जब RES (पवन और सौर) उत्पादन अधिकतम था-

Net load Curve when RES (wind and Solar) Generation was max-

{{plot_1_11_netloadCurve}}

हाइड्रो जनरेशन व जलाशय स्तर मीटर में

Hydro Generation and Reservoir Level in Meter (Max in the Month)- FY 2020-21

|  | Madhya Pradesh |  |  | Gujarat |  |  | Maharashtra |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Gandhi Sagar | Indira sagar | Omkareshwer | Ukai | Kadana | SSP | Koyna |
|  | FRL-399.90 Mt MDDL – 381 Mt | FRL- 262.14 Mt MDDL – 243.24 Mt | FRL- 196.6 Mt MDDL – 193.5 Mt | FRL-105.16Mt MDDL – 82.30 Mt | FRL- 127.7 Mt MDDL – 114 Mt | FRL- 138.68 Mt MDDL – 110.64 Mt | FRL- 657.88 Mt MDDL – 609.60 Mt |
| {%tr for item in reservoir_table%} |  |  |  |  |  |  |  |
| {{item.date_time}} | {{item.gandhi}} | {{item.indira}} | {{item.omkare}} | {{item.kadana}} | {{item.ssp}} | {{}item.ukai} | {{item.koyna}} |
| {%tr endfor %} |  |  |  |  |  |  |  |

{%tr for item in reservoir_section%}

{{item.img}}

{%tr endfor %}

Import =  (+) , Export = (-)

1.12 पश्चिमी क्षेत्र का अंतरक्षेत्रीय आदान-प्रदान

Interregional Exchange of Western Region

{%tr for item in inter_regioanl_section%}

{{item.img}}

{%tr endfor %}

1.13 आरआरएएस भुगतान विवरण RRAS PAYMENT DETAILS – From 30-11-2020 to 27-12-2020

| A. Payments to the RRAS Provider(s) from the DSM pool for UP Regulation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Sr.no | RRAS Provider Name | energy | mw | Fixed | Variable | Markup | total |
| s |  |  |  |  |  |  |  |

| B. Payments to the RRAS Provider(s) from the DSM pool for Down Regulation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sr.no | RRAS Provider Name | energy | mw | Vairable | DSM |

1.14   REVISED AUFLS SETTING OF WR:

DF/DT Scheme

1.15 OPEN ACCESS TRANSACTION DETAILS

1.16      दिसम्बर 2020 में ग्रिड गड़बड़ी और ग्रिड की घटनाओं (GD/GI) की सूची: पश्चिमी क्षेत्र

List of Grid Disturbances and Grid incidents (GD/GI) in December 2020 : Western Region

ANNEXURES

2.1 लोड अवधि वक्र Load Duration Curve

{%tr for item in plot_2_1 %}

{{item.img}}

{%tr endfor %}

2.2 आवृत्ति अवधि वक्र Frequency Duration Curve

{%tr for item in plot_2_2 %}

{{item.img}}

{%tr endfor %}

2.3 पीक और उच्चतम मांग दिन पर भार वक्र LOAD CURVE ON PEAK AND MAXIMUM DEMAND DAY

{%tr for item in max_hourly_section%}

{{item.img}}

{%tr endfor %}

2.3 पीक और न्यूनतम मांग दिन पर भार वक्र LOAD CURVE ON PEAK AND MINIMUM DEMAND DAY

{%tr for item in min_hourly_section%}

{{item.img}}

{%tr endfor %}

2.4 UNITWISE INSTALLED CAPACITY November’2020

| Generating Station Details in Western Region |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| CENTRAL SECTOR GENERATING STATIONS |  |  |  |  |  |
| NTPC |  |  |  |  |  |
| TYPE | STATION | INSTALLED CAPACITY |  | EFFECTIVE CAPACITY |  |
|  |  | UNITS | TOTAL (MW) | UNITS | TOTAL (MW) |
| Coal | KSTPS | 3x200+3x500+1x500 | 2600 | 3x200+3x500+1x500 | 2600 |
|  | VSTPS | 6x210+2x500+2x500+3x500 | 4760 | 6x210+2x500+2x500+3x500 | 4760 |
|  | Sipat STPS | 2x500+3x660 | 2980 | 2X500+3X660 | 2980 |
|  | Mauda | 2x500+2x660 | 2320 | 2x500+2x660 | 2320 |
|  | Solapur | 2*660 | 1320 | 2*660 | 1320 |
|  | Lara | 2*800 | 1600 | 2*800 | 1600 |
|  | Khargone | 2*660 | 1320 | 2*660 | 1320 |
|  | Gadarwara | 2*800 | 1600 | 2*800 | 1600 |
|  | NSPCL Bhilai TPP(*) | 2x250 | 500 | 2x250 | 500 |
| TOTAL Coal |  |  | 19000 |  | 19000 |
| GAS | KAWAS | 4x106+2x116 | 656.20 | 4x106+2x116.1 | 656.20 |
|  | GANDHAR | 3x144.3+1x224.49 | 657.39 | 3x144.3+1x224.49 | 657.39 |
| TOTAL GAS |  |  | 1314 |  | 1314 |
| GRAND TOTAL |  |  | 20314 |  | 20314 |
| NPCIL |  |  |  |  |  |
| TYPE | STATION | INSTALLED CAPACITY |  | EFFECTIVE CAPACITY |  |
|  |  | UNITS | TOTAL (MW) | UNITS | TOTAL (MW) |
| NUCLEAR | TAPS | 2x160+2x540 | 1400 | 2x160+2x540 | 1400 |
|  | KAPS | 2x220 | 440 | 2x220 | 440 |
| TOTAL NUCLEAR |  |  | 1840 |  | 1840 |
| RES |  |  |  |  |  |
| Solar | ACME |  | 250 |  | 250 |
|  | ARINSUN |  | 250 |  | 250 |
|  | Mahindra |  | 250 |  | 250 |
| Wind | OSTRO |  | 250 |  | 250 |
|  | ReNew Power Ltd |  | 350 |  | 185 |
|  | GIWEL II |  | 250 |  | 250 |
|  | GIWEL III |  | 300 |  | 300 |
|  | IWISL |  | 500 |  | 200 |
|  | AGEMPL(Wind) |  | 725 |  | 176 |
|  | Alfanar (Wind) |  | 300 |  | 234 |
|  | Renew(AP2) |  | 300 |  | 95 |
| Total |  | Solar | 750 |  | 750 |
|  |  | Wind | 2975 |  | 1690 |
| CENTRAL SECTOR SUMMARY |  |  |  |  |  |
| TOTAL CENTRAL SECTOR | Coal |  | 19000 |  | 19000 |
|  | GAS |  | 1314 |  | 1314 |
|  | NUCLEAR |  | 1840 |  | 1840 |
|  | RES |  | 3725 |  | 2460 |
| GRAND TOTAL (CENTRAL SECTOR) |  |  | 25879 |  | 24594 |
| STATE SECTOR GENERATING STATIONS |  |  |  |  |  |
| GUJARAT |  |  |  |  |  |
| TYPE | STATION | INSTALLED CAPACITY |  | EFFECTIVE CAPACITY |  |
|  |  | UNITS | TOTAL (MW) | UNITS | TOTAL (MW) |
| HYDRO | UKAI | 4x75 | 300 | 4x75 | 300 |
|  | UKAI (LBCH) | 2x2.5 | 5 | 2x2.5 | 5 |
|  | KADANA | 4x60 | 240 | 4x60 | 240 |
|  | MADHUBAN DAM | 2x1.5+2.6 | 5.6 | 2*1.5+2.6 | 5.6 |
|  | KARJAN DAM | 2x1.5 | 3 | 2x1.5 | 3 |
|  | PANAM CANAL | 2x1 | 2 | 2x1 | 2 |
|  | Areva Hydro, Daulatpura | 3x4 | 12 | 3x4 | 12 |
|  | SARDAR SAROVAR | 16% of 1450 | 1450 | 16% of 1450 | 232 |
| TOTAL HYDRO |  |  | 2017.6 |  | 791 |
| Coal | A.E.Co.(Torrent Power) | 1x0+2x121+120 | 362 | 1x0+2x110+120 | 362 |
|  | UKAI | 2x0+2x200+1x210+ 1x500 | 1110 | 2x0+2x200+1x210+ 1x500 | 1110 |
|  | GANDHI NAGAR | 2x0+3x210 | 630 | 2x0+3x210 | 630 |
|  | WANAKBORI | 7x210 | 1470 | 7x210 | 1470 |
|  | SIKKA | 2x0+2x250 | 500 | 2x0+2x250 | 500 |
|  | KUTCH LIGNITE | 2x70+2x75 | 290 | 2x70+2x75 | 290 |
|  | SURAT LIGNITE | 4x125 | 500 | 4x125 | 500 |
|  | AKRIMOTA | 2x125 | 250 | 2x125 | 250 |
|  | *CGPL | **3x830 +1x830+ 1x830 | 4150 | **3x830 +1x830+ 1x830 | 4150 |
|  | *Mundra(APL) | **4*330 +2*660+3*660 | 4620 | **4*330 +2*660+3*660 | 4620 |
|  | Essar Vadinar | 2x600 | 1200 | 2x600 | 1200 |
|  | BECL | 2x250 | 500 | 2x250 | 500 |
|  | OPGS | 2x150 | 300 | 2x150 | 300 |
| TOTAL Coal |  |  | 15882 |  | 15882 |
| GAS | DHUVARAN | 1x107+1x112+1x376 | 595 | 1x107+1x112+1x376 | 595 |
|  | UTRAN-I | 3x30+1x45 | 135 | 3x30+1x45 | 135 |
|  | UTRAN-II | 1X229+1X146(ST) | 375 | 1X229+1X146(ST) | 375 |
|  | GIPCL I | 3x32+49(ST) | 145 | 3x32+49 | 145 |
|  | GIPCL II | 111+54(ST) | 165 | 111+54 | 165 |
|  | ESSAR** | 3x110+1x185 (ST) | 215 | 3x110+1x185 (ST) | 215 |
|  | DGEN | 3x400 | 1200 | 3x400 | 1200 |
|  | Pipavav CCPP- GPCL & GSPC joint venture | 2x351.43 | 702.86 | 2x351.43 | 702.86 |
|  | GSEG Hazira I(Ext) | 1x351 | 351 | 1x351 | 351 |
|  | UNO Sugen | 1x382.5 | 382.5 | 1x382.5 | 382.5 |
|  | GSEG HAZIRA II | 2x52+1x52.1 (ST) | 156.1 | 2x52+1x52.1 (ST) | 156.1 |
|  | SUGEN | 3X382.5 | 1147.5 | 3X382.5 | 1147.5 |
| TOTAL GAS |  |  | 5570 |  | 5570 |
| Diesel |  |  | 0 |  | 0 |
| RES | WIND+SOLAR+OTHERS |  | 10996 |  | 10996 |
| TOTAL GUJARAT | HYDRO |  | 2017.6 |  | 791 |
|  | COAL |  | 15882 |  | 15882 |
|  | GAS |  | 5569.96 |  | 5569.96 |
| GRAND TOTAL (GUJARAT) |  |  | 34466 |  | 33239 |
| MADHYA PRADESH |  |  |  |  |  |
| TYPE | STATION | INSTALLED CAPACITY |  | EFFECTIVE CAPACITY |  |
|  |  | UNITS | TOTAL (MW) | UNITS | TOTAL (MW) |
| HYDRO | GANDHI NAGAR | 5x23 (50%) | 115 | 5x23 (50%) | 57.5 |
|  | R P SAGAR | 4x43 (50%) | 172 | 4x43 (50%) | 86 |
|  | J SAGAR | 3x33 (50%) | 99 | 3x33 (50%) | 49.5 |
|  | PENCH SHARE | 2x80 (66.67%) | 160 | 2x80 (66.67%) | 106.7 |
|  | BANASAGAR TONS | 3x105 | 315 | 3x105 | 315 |
|  | BARGI | 2x45 | 90 | 2x45 | 90 |
|  | BANASAGAR | 2x15+3x20+2x10 | 110 | 2x15+3x20+2x10 | 110 |
|  | BIRSINGHPUR | 1x20 | 20 | 1x20 | 20 |
|  | RAJGHAT | 3x15(50%) | 45 | 3X15(50%) | 22.5 |
|  | INDIRA SAGAR | 8x125 | 1000 | 8x125 | 1000 |
|  | MADHIKHEDA HEP | 3X20 | 60 | 3X20 | 60 |
|  | MINI & MICRO HYDRO | 5.46 | 5.46 | 5.46 | 5.46 |
|  | Omkareswar Hydro | 8x65 | 520 | 8x65 | 520 |
|  | NVDA (BARGI LBC+ISP LBC) | 2x5+3x5 | 25 | 2x5+3x5 | 25 |
|  | RIHAND | 6x50(15%) | 300 | 6x50(15%) | 45 |
|  | MATATILA | 3x10(15%) | 30 | 3x10(15%) | 10 |
| TOTAL HYDRO |  |  | 3066 |  | 2523 |
| Coal | AMARKANTAK | 2X120+1X210 | 450 | 2X120+1X210 | 450 |
|  | SATPURA-II | 1x200+1x210 | 410 | 1x200+1x210 | 410 |
|  | SATPURA-III & IV | 2x210+2x250 | 920 | 2x210+2x250 | 920 |
|  | S GANDHI TPS I & II | 4x210 | 840 | 4x210 | 840 |
|  | S GANDHI TPS III | 1x500 | 500 | 1x500 | 500 |
|  | Jaypee Bina | 2x250 (70%) | 500 | 2x250 (70%) | 500 |
|  | *SASAN (Unit 1-6) | **6x660 (37.5%) | 3960 | **6x660 | 3960 |
|  | Jayprakash Nigrie(IPP) | 2x660 (37.5%) | 1320 | 2x660 (37.5%) | 1320 |
|  | SSTP(Shri Singhaji Thermal Power Station) | 4x600 | 2400 | 4x600 | 2400 |
|  | BLA POWER | 1x45(35%) | 45 | 1x45(35%) | 45 |
|  | Jhabua Power ( Avanta) | 2x600 | 1200 | 2x600 | 1200 |
|  | M B Power | 2x600 (35%) | 1200 | 2x600 (35%) | 1200 |
| TOTAL THERMAL |  |  | 13745 |  | 13745 |
| Diesel |  |  | 0 |  | 0 |
| RES | WIND+SOLAR+OTHERS |  | 5051 |  | 5051 |
| TOTAL MADHYA PRADESH | HYDRO |  | 3066 |  | 2523 |
|  | THERMAL |  | 13745 |  | 13745 |
| GRAND TOTAL (MADHYA PRADESH) |  |  | 21862 |  | 21319 |
| CHHATISGARH |  |  |  |  |  |
| TYPE | STATION | INSTALLED CAPACITY |  | EFFECTIVE CAPACITY |  |
|  |  | UNITS | TOTAL (MW) | UNITS | TOTAL (MW) |
| HYDRO | HASDEO BANGO | 3x40 | 120 | 3x40 | 120 |
|  | Gangrel | 4x2.5 | 10 | 4x2.5 | 10 |
|  | Korba West Mini Micro Hydel | 2X.85 | 1.7 | 2X.85 | 1.7 |
|  | Sikasar | 2x3.5 | 7 | 2x3.5 | 7 |
| TOTAL HYDRO |  |  | 138.7 |  | 138.7 |
| Coal | KORBA (E) | 4x50+2x120 | 440 | 4X50+2X120 | 440 |
|  | KORBA (W) | 4x210+1x500 | 1340 | 4x210+1x500 | 1340 |
|  | KORBA (E) ext-I | 2x250 | 500 | 2x250 | 500 |
|  | Korba West Power Corp. Ltd. (IPP) | 1x600 | 600 | 1x600 | 600 |
|  | JINDAL Stage I, | 4x250 | 1000 | 4x250 | 1000 |
|  | JINDAL(JSPL TPP)unit3 DCPP(IPP) | 4x135 | 540 | 4x135 | 540 |
|  | LANCO-Amarkantak | 2x300 | 600 | 2x300 | 600 |
|  | SVPL TPP | 1x63 | 63 | 1x63 | 63 |
|  | Spectrum Coal Private Ltd. | 2x50 | 100 | 2x50 | 100 |
|  | ESSAR Mahan | 2x600 | 1200 | 2x600 | 1200 |
|  | GMR-Chhatisgarh Energy Ltd | 2x685 | 1370 | 2x685 | 1370 |
|  | ACBIL,IPP | 2x135+2*30 | 330 | 2x135+2*30 | 330 |
|  | KSK Mahanadi,IPP(Unit 1,2 and Unit 4) | 3x600 | 1800 | 3x600 | 1800 |
|  | DB Power,IPP | 2x600 | 1200 | 2x600 | 1200 |
|  | JPL Stage II,IPP | 4x600 | 2400 | 4x600 | 2400 |
|  | BALCO | 4x300+4*67.5+4*135 | 2010 | 4x300+4*67.5+4*135 | 2010 |
|  | RKM Powergrn ltd | 4x360 | 1440 | 4x360 | 1440 |
|  | Marwa TPS | 1x500+1x500 | 1000 | 1x500+1x500 | 1000 |
|  | Maruti Clean Coal Power Ltd | 1x300 | 300 | 1x300 | 300 |
|  | JP Nigri | 2x660 | 1320 | 2x660 | 1320 |
|  | TRN Energy | 2x300 | 600 | 2x300 | 600 |
|  | SKS | 2x300 | 600 | 1x300 | 600 |
| TOTAL THERMAL |  |  | 20753 |  | 20753 |
| CHHATTISGARH TOTAL | HYDRO |  | 138.7 |  | 138.7 |
|  | THERMAL |  | 20753 |  | 20753 |
| Diesel |  |  | 0 |  | 0 |
| RES | WIND+SOLAR+OTHERS |  | 552 |  | 552 |
| GRAND TOTAL (CHHATISGARH) |  |  | 21444 |  | 21444 |
| MAHARASHTRA |  |  |  |  |  |
| TYPE | STATION | INSTALLED CAPACITY |  | EFFECTIVE CAPACITY |  |
|  |  | UNITS | TOTAL (MW) | UNITS | TOTAL (MW) |
| HYDRO | KOYNA I & II | 4x(65+5)+4x(75+5) | 600 | 4x(65+5)+4x(75+5) | 600 |
|  | KOYNA III | 4x80 | 320 | 4x80 | 320 |
|  | KOYNA DPH | 2x20 | 40 | 2X18 | 36 |
|  | KOYNA IV | 4x250 | 1000 | 4x250 | 1000 |
|  | KHOPOLI | 3x24 | 72 | 3x24 | 72 |
|  | BHIVPURI | 3x24+2x1.5 | 75 | 3x24+2x1.5 | 75 |
|  | BHIRA | 6x25 | 150 | 6x25 | 150 |
|  | BHIRA PSS | 1x150 | 150 | 1x150 | 150 |
|  | VAITHARNA | 1x60 | 60 | 1x60 | 60 |
|  | TILLARI | 1x66 | 66 | 1x66 | 66 |
|  | BHIRA T/R | 2x40 | 80 | 2x40 | 80 |
|  | GOM HYDRO |  | 38 |  | 38 |
|  | DADSON | 1x44 | 44 | 1x44 | 44 |
|  | GHATGHAR | 2x125 | 250 | 2x125 | 250 |
| TOTAL HYDRO |  |  | 2945 |  | 2941 |
|  | CHANDRAPUR | 2x0+2x210+3x500 | 1920 | 2x0+2x210+3x500 | 1920 |
| Coal | CHANDRAPUR Extension | 1x500+1x500 | 1000 | 1x500+1x500 | 1000 |
|  | TROMBAY | 1x500+1x250 | 750 | 1x500+1x250 | 750 |
|  | KORADI | 2x210 | 420 | 2x210 | 420 |
|  | KORADI | 3x660 | 1980 | 3x660 | 1980 |
|  | NASIK | 3x210 | 630 | 3x210 | 630 |
|  | KHAPERKHEDA | 4x210+1x500 | 1340 | 4x210 +1x500 | 1340 |
|  | PARLI | 2x0+1x0+2x210+2x250+1x250 | 1170 | 2x0+1x0+2x210+2x250+1x250 | 1170 |
|  | BHUSAWAL | 2x210+ 2x500 | 1420 | 2x210+ 2x500 | 1420 |
|  | REL DAHANU | 2x250 | 500 | 2x250 | 500 |
|  | PARAS | 2x250 | 500 | 2x250 | 500 |
|  | JSW Ratnagiri(Jaigad) | 4x300 | 1200 | 4x300 | 1200 |
|  | Mihan TPP(Abhijit) | 4x61.5 | 246 | 4x62.5 | 246 |
|  | Wardha Warora Power Co Ltd. | 4x135 | 540 | 4x135 | 540 |
|  | Vidharbha Industry, Butibori | 2x300 | 600 | 2x300 | 600 |
|  | APML,Tiroda-Ph-I(400 kV) | 3x660 | 1980 | 3x660 | 1980 |
|  | APML,Tiroda-Ph-II( 765 kV) | 2x660 | 1320 | 2x660 | 1320 |
|  | IEPL (Ideal Energy Power Ltd, Belapur) | 1x270 | 270 | 1x270 | 270 |
|  | IBL (India Bulls Limited, Amravati) Ratan India | 5x270 | 1350 | 5x270 | 1350 |
|  | GMR Warora | 2x300 | 600 | 2x300 | 600 |
|  | Indrajeet | 1x77 | 77 | 1x77 | 77 |
|  | Indorama | 1x49 | 49 | 1x49 | 49 |
|  | Finolex, Ratnagiri | 1x43 | 43 | 1x43 | 43 |
|  | JSW Boisar, Vashi Circle | 1x37.6 | 37.6 | 1x37.6 | 37.6 |
|  | Uttam Galwa | 1x60 | 60 | 1x60 | 60 |
|  | Gupta Energy ltd | 2x60 | 120 | 2x60 | 120 |
|  | Topworth Urja | 1x30 | 30 | 1x30 | 30 |
|  | Ultratech Cement ltd. | 1x46 | 46 | 1x46 | 46 |
|  | Vayunandana Power ltd | 1x10 | 10 | 1x10 | 10 |
|  | Dhariwal-I& II (STU) | 1x300 | 300 | 1x300 | 300 |
|  | ISMT Ltd | 40 | 40 | 40 | 40 |
|  | Suryalakshmi Cotton & Mills Ltd | 25 | 25 | 25 | 25 |
|  | Grace Industries Ltd | 33 | 33 | 33 | 33 |
|  | Prithvi Ferro Alloys Pvt. Ltd | 18 | 18 | 18 | 18 |
|  | RCF, , Pen circle | 30 | 30 | 30 | 30 |
|  | BILT Power, Baramati ® circle | 5 | 5 | 5 | 5 |
|  | Reliance Patalganga | 20 | 20 | 20 | 20 |
|  | Sunflag , Bhandara Circle | 15 | 15 | 15 | 15 |
|  | BILT Power,Chandrapur circle | 10 | 10 | 10 | 10 |
|  | Gopani Chandrapur circle | 12 | 12 | 12 | 12 |
|  | ONGC, Vashi circle | 59.6 | 59.6 | 59.6 | 59.6 |
|  | IG Petro, Vashi circle | 4.2 | 4.2 | 4.2 | 4.2 |
|  | Technocraft Industries, Kalyan Circle | 5 | 5 | 5 | 5 |
|  | Ratan India Pvt Ltd.(Sinner) | 1x270+1x270 | 540 | 1x270+1x270 | 540 |
|  | RPL URJA YEOTMAL |  | 10 |  | 10 |
|  | Siddhabali Ispat, Chandrapur Circle |  | 20 |  | 20 |
| TOTAL COAL |  |  | 21355.4 |  | 21355.4 |
| GAS | TROMBAY-7A & 7B | 120+60 | 180 | 120+60 | 180 |
|  | URAN (G) | 4x108 | 432 | 4x108 | 432 |
|  | URAN-DPH | 2x120 | 240 | 2x120 | 240 |
|  | RATNAGIRI PHASE - I | 2x205+1x230 | 640 | 2x205+1x230 | 640 |
|  | RATNAGIRI PHASE -II | 2x213 + 237.54 | 663.54 | 2x213 + 237.54 | 663.54 |
|  | RATNAGIRI PHASE- III | 2x213 + 237.55 | 663.54 | 2x213 + 237.55 | 663.54 |
|  | Pioneer Gas Pvt Ltd | 1x126 + 1x262 | 388 | 1x126 + 1x262 | 388 |
| TOTAL GAS |  |  | 3207 |  | 3207 |
| Diesel | Diesel |  | 0 |  | 0 |
| RES | WIND+SOLAR+OTHERS |  | 9766 |  | 9766 |
| MAHARASHTRA | HYDRO |  | 2945 |  | 2941 |
|  | COAL |  | 21355.4 |  | 21355.4 |
|  | GAS |  | 3207.08 |  | 3207.08 |
|  | RES |  | 9779 |  | 9779 |
| GRAND TOTAL (MAHARASHTRA) |  |  | 37286 |  | 37282 |
| GOA |  |  |  |  |  |
| TYPE | STATION | INSTALLED CAPACITY |  | EFFECTIVE CAPACITY |  |
|  |  | UNITS | TOTAL (MW) | UNITS | TOTAL (MW) |
| Diesel |  |  | 0 |  | 0 |
| RES |  |  | 5.12 |  | 5.12 |
| GAS | RELIANCE, SALGAONKAR | 1x39.82+1x8.2 | 48.02 | 1x39.82+1x8.2 | 48.02 |
| GRAND TOTAL (GOA) |  |  | 53 |  | 53 |

| Units Decommissioned |  |  |  |
| --- | --- | --- | --- |
| UNIT | CAPACITY (MW) |  | Withdrawn from |
| Paras -2 | 55 |  | 16-11-2010 |
| Parli -1 | 20 |  | 12-12-2010 |
| Parli -2 | 20 |  | 12-11-2010 |
| Parli-3 | 210 |  | 10-05-2016 |
| Parli-4 | 210 |  | 30-11-2019 |
| Parli-5 | 210 |  | 30-11-2019 |
| Bhusawal -1 | 50 |  | 15-12-2010 |
| Bhusawal -2 | 210 |  | 01-04-2017 |
| Koradi - 1 to 4(105 MW each) | 420 |  | 01-08-2011 |
| Koradi-5 | 200 |  | 02-03-2017 |
| Satpura Stage I(Unit 1) | 62.5 |  | 01-07-2014 |
| Satpura Stage I(Unit 2) | 62.5 |  | 12-05-2013 |
| Satpura Stage I(Unit 3) | 62.5 |  | 10-01-2013 |
| Satpura Stage I(Unit 4) | 62.5 |  | 12-05-2013 |
| Satpura Stage I(Unit 5) | 62.5 |  | 02-01-2013 |
| Amarkantak unit 2&3 | 2x120 |  | 2014 & 2015 |
| Torrent Power | 100 |  | 04-01-2014 |
| Vandana Vidyut,IPP | 1x135 |  | 01-05-2015 |
| Gandhinagar | 2x120 |  | 03-09-2016 |
| Korba East-II Unit-1 to 4 | 4x50 |  |  |
| Chandrapur | 2x210 |  | 01-04-2016 |
| UTRAN-I | 3x30+1x45 |  | 22-01-2017 |
| ESSAR** | 3x110+1x185 (ST)-215(PPA withdrawn) |  | 29-05-2016 |
| Sikka(1& 2) | 2x120 |  | 01-04-2017 |
| Ukai(1& 2) | 2x120 |  | 01-04-2017 |
| A.E.Co.(Torrent Power) | 1x60 |  | 02-04-2018 |
| GPEC | 3x138+1x241(ST) |  |  |
| TROMBAY(Unit-6) | 500 |  | 30-07-2019 |

2.5  दिसम्बर 2020 के लिए कोणीय विभाजन उल्लंघन रिपोर्ट

Angular separation violation report for December 2020

2.6 System Reliability Indices (ATC/TTC and VDI) Monthly Report 2020-21:

Details of percentage of time ATC (Available Transfer Capability) violation, percentage of time (N-1) criteria violation and Voltage Deviation Index (VDI) are available at link given below-

https://posoco.in/reports/system-reliability-indices/monthly-vdittcatc/monthly-vdi-ttc-atc-2020-21/

- वितरण Distribution

- 1. मुख्य अभियंता(भा.प्रे.),गेटको, एसएलडीसी,गोत्री, एन.एच-8, वडोदरा 390014

- 2. मुख्य अभियंता(भा.प्रे.),मध्यप्रदेश एसएलडीसी,नयागांव,जबलपुर 482008

- 3. मुख्य अभियंता(भा.प्रे.),महाराष्ट्र एसएलडीसी ,पोस्ट बॉक्स 95, ठाणे-बेलापुररोड,

- एरोली,नवी मुंबई 400708

- 4.मुख्य अभियंता(भा.प्रे.),छत्तिसगड एसएलडीसी ,डंगानिया, रायपुर 492010

- 5. मुख्य विदुयत अभियंता,गोवा एसएलडीसी,3 री मंजिल,पणजीम,गोवा.

- 6.महाप्रबंधक ट्रांसमीशन,न्युक्लियरपावर कारपोरेशन,विक्रम साराभाई भवन,अनूशक्ति नगर, मुंबई 400094

- 7.कार्यपालक निदेशक,एन.टी.पी.सी,2री मंजिल ,समृद्धि ट्रेड सेंटर,एम.आय.डी.सी.,मरोल,

- अंधेरी(पूर्व),मुंबई 400093

- 8. कार्यपालक अभियंता, विदयुत भवन, 66 के.वी.रोड ,सचिवालय के पास, अमली, दादरा और नगर हवेली, सिलवासा

- 396230

- 9. मुख्य विदुयत अभियंता, दमण और दिव इलेक्ट्रिसिटि डिपार्टमेन्ट,66/11केवी काचीगाम सब स्टेशन, सोमनाथ-

- काचीगाम रोड, काचीगाम, दमण-396210

- 10.सदस्य सचिव,प.क्षे.वि.समिती,एफ-3,एम.आय.डी.सी.,मरोल,   अंधेरी(पूर्व), मुंबई 400093

- 11. कार्यपालक निदेशक, पावर ग्रिड, प्रा.प्र.-I,संप्रीति नगर नारी रिंग रोड,नागपुर  440026

- 12. कार्यपालक निदेशक, पावर ग्रिड, प्रा.प्र.-II, क्षेत्रीय मुख्यालय,प्लॉट संख्या 54,रिया-रेवती रिसोर्ट के.पास,अब्मे

- विद्यालय के सामने,समा सावली रोड , बाडोदरा -390008 (गुजरात)

- 13. कार्यपालक निदेशक, एन.एल. डी.सी., पावर सिस्टम ऑपरेशन कारपोरेशन लिमिटेड,

- बी. 9, कुतुब इंस्टुटीएसनल, एरिया कटवारिया सराय, नई दिल्ली 110016

- 14. कार्यपालक निदेशक, पावर सिस्टम ऑपरेशन कारपोरेशन लिमिटेड, एन.आर.एल.डी.सी.,

- 18 ए. एस. एस.  मार्ग ,कटवारिया सराय, नई दिल्ली 110016

- 15. कार्यपालक निदेशक,पावर सिस्टम ऑपरेशन कारपोरेशन लिमिटेड, एन.ई.आर.एल.डी.सी., ड़ोंग टिथ लोवर

- नानगर,  लापालंग, शिलांग-793006(मेघालय)

- 16. कार्यपालक निदेशक, पावर सिस्टम ऑपरेशन कारपोरेशन लिमिटेड, ई.आर.एल.डी.सी,14 गोल्फ क्लब रोड,

- टोलीगंज, कोलकाता-700033

- 17. कार्यपालक निदेशक, पावर सिस्टम ऑपरेशन कारपोरेशन लिमिटेड, एस.आर.एल.डी.सी, 29 रेस कोर्स क्रॉस

- रोड,     बेंगलूर-   560009

- Nothing sto {{month_name}}